## Slide 1: February 25, 2025
Think Safe-Be Safe

## Slide 2
Accidents Happen Be Prepared

## Slide 3: “Do’s” When a Gas Line is Damaged
STAY CALM and THINK
STOP EVERYTHING
BLOWING GAS – CALL 911 & GAS COMPANY 413-445-0286 or 413-445-0230
CLEAR THE AREA
  EVACUATE THE BUILDINGS CLOSE TO THE LEAK
REMEMBER: THE FIRE DEPARTMENT IS IN CHARGE OF THE SCENE
DAMAGED PIPE OR DAMAGED TRACER WIRE – CALL GAS COMPANY 413-445-0286 or 413-445-0230

## Slide 4: When a Gas Line is Damaged, do NOT:
PANIC!
LOOK IN OR GET IN THE HOLE
ATTEMPT TO STOP THE FLOW OF GAS
OPERATE ANY VALVES ON THE GAS SYSTEM
COVER THE DAMAGE WITH A BUCKET OF EQUIPMENT
ATTEMPT TO REPAIR DAMAGE!!!!
DO NOT BACKFILL!! – Until the gas company has made the repair and gives the OK

## Slide 5
Notify Berkshire Gas if damage to a tracer wire or other facility is known.
Bill Tessier
Damage Prevention Supervisor
(413) 209-1791

## Slide 7: Berkshire Gas Company Dispatch Center
24/7 Call Direct!
Direct lines:
1-800-292-5012 OR
1-413-445-0230

## Slide 8: Berkshire Gas along with other Local Distribution Companies (LDC) and the Northeast Gas Association have formed an online training program www.ngafirstresponder.com

## Slide 9: www.ngafirstresponder.com

## Slide 10: www.ngafirstresponder.com

## Slide 11
DISCUSSIONS
Todays Presenters for BGC:
Bill Tessier
Damage Prevention Supervisor
(413) 209-1791
Mike Therrien
Distribution Supervisor-Adams Division

## Slide 12
Think Safe-Be Safe